## Slide 1
Traditional vs. Smart Sterilization Methods: Conventional techniques like boiling or chemical use
are time-consuming and pose contamination risks, whereas smart systems deliver efficient, contact-
free hygiene solutions
RESULTS
DISCUSSION AND CONCLUSION
BIBLIOGRAPHY
MATERIALS AND METHODS
Statistical analysis using an independent T-test (p = 0.001)
confirmed a significant performance difference between the two systems, validating the effectiveness of UV protected sterilization.
Register No: 192111162 Students Name: B.Gurutejetha Guided By Dr.Samson Ebenezar
A Comparative Analysis Of Sterifresh: UV-C Smart Sterilizer And Dryer (Baby Bottle, Household Hygiene Solutions) With Auto Shutoff Compared With Traditional Boiling Method
INTRODUCTION
Increasing Need for Automated Sterilization: Growing concerns about baby care and cleanliness are highlighting the drawbacks of traditional manual sterilization, which is often inconsistent and labor-intensive.
Advancement of UV-C Disinfection Technology: New developments in UV-C light technology have led to the creation of intelligent sterilizers that provide effective, automated sanitation.
Integration of Intelligent Sensors and Safety Features: These UV-C sterilizers come equipped with smart sensors and automatic shutoff functions, ensuring user safety, energy efficiency, and protection against overheating.
The T-test analysis (p = 0.001) reveals a statistically significant improvement in performance from the UV-C Smart Sterilizer compared to manual sterilization, affirming the superior effectiveness of automation.
On average, the smart sterilizer achieved 98.5% disinfection, whereas traditional approaches reached only 76.3%, highlighting the advantage of UV-C light and auto shutoff in ensuring hygienic reliability.
The UV-C based system consistently outperformed conventional methods, offering greater reliability and uniform results.
Its smart sensing and automated shutoff design contribute to enhanced safety, lower energy usage, and hands-free operation.
Repeated experiments confirm that the system maintains stable and dependable performance under various conditions.
Disinfection Performance: The smart sterilizer eliminated 98.5% of
bacteria, outperforming the 76.3% effectiveness of traditional boiling and manual drying techniques.
Power Efficiency: The automated shutoff system helped cut energyss
usage by approximately 35%, enhancing operational efficiency.
Safety Mechanism Reliability: The auto shutoff feature was activated
in all overheating test cases, demonstrating 100% safety
Lee, D., & Kim, H. (2021). Development of a UV-C Based Automated Sterilization Unit for Household Items. Journal of Applied Microbiology and Hygiene, 13(3), 198–206.
Thomas, G., & Varghese, R. (2022). Smart Disinfection Systems: Integration of Sensors and IoT for Safe Sterilization.
International Journal of Smart Device Engineering, 9(1), 44–50.
Zhao, L., & Chen, Y. (2020). Comparative Effectiveness of Manual and Automated UV Sterilizers in Domestic Environments.
Biomedical Equipment and Applications, 11(4), 234–240.
Mehra, P., & Desai, S. (2023).Energy Optimization in Household Sterilizers Using Auto Shutoff and Sensor Control. Smart Systems and Energy Management Journal, 7(2), 71–78.
Fig. 1.UV Sterilizer
Fig. 2. UV vs Boiling
Table 1.Accuracy values
Algorithm
N
Mean
Std. Deviati on
Std. Error Mean
Accuracy
UV
10
98.500
0.65200
0.41176
Boiling
10
76.300 1.21543 0.76822